## Slide 1: Earth Mover’s Distance exploration
As potential solution for generating unique number score for given set of categorically performing BMPs

## Slide 2: The original problem, Quintile scores give the same value for qualitatively different sets
Analyte = Total Copper |  |  | BMP Type = Bioretention | BMP Type = Bioretention | 
Threshold | Performance | Quint Score | Count | % | Quint Score x %
25 | Failing | 1 | 2 | 1.28 | 0.0128
25 | Subpar | 2 | 57 | 36.54 | 0.7308
25 | Contributing | 3 | 1 | 0.64 | 0.0192
25 | Surpassing | 4 | 87 | 55.77 | 2.2308
25 | Succeeding | 5 | 9 | 5.77 | 0.2885
 |  |  | Score per Analyte* |  | 3.2821
Does Subpar + Surpassing= Contributing?
* Score per Analyte = Sum of (% x Quint Score) over all performance categories

## Slide 4: Threshold Weights Rationale
Effluent / Threshold Concentration
1.0
0
1.0
0
Influent / Threshold Concentration
Succeeding
Contributing
Surpassing
Subpar
Failing
Effluent = Threshold Weight: 2.0
Influent = Threshold Weight: 0.5
Effluent = Influent Weight: 1.0

## Slide 5: EMD compared to weighted thresholds

## Slide 6: Insight – Quint Score = Weighted Thresholds
Effluent / Threshold Concentration
1.0
0
1.0
0
Influent / Threshold Concentration
Succeeding = 5
Contributing = 3
Surpassing = 4
Subpar = 2
Failing = 1
Effluent = Threshold Weight: 2.0
Influent = Threshold Weight: 1.0
Effluent = Influent Weight: 2.0

## Slide 7: EMD = Quint Score

## Slide 8: Insight – Ken Score = Quint Score - 1
Effluent / Threshold Concentration
1.0
0
1.0
0
Influent / Threshold Concentration
Succeeding = 4
Contributing = 2
Surpassing = 3
Subpar = 2
Failing = 1
Effluent = Threshold Weight: 2.0
Influent = Threshold Weight: 1.0
Effluent = Influent Weight: 1.0

## Slide 9: EMD = Ken Score

## Slide 10: Categorical Ranking Carries Implicit Threshold Weight: What should ours be?
Effluent / Threshold Concentration
1.0
0
1.0
0
Influent / Threshold Concentration
Success
Insufficient
Excess
Marginal
Failure
Effluent = Threshold Weight: 1.0
Influent = Threshold Weight: 0.5
Effluent = Influent Weight: 2.0

## Slide 11: 3-2-1 Warning
Effluent / Threshold Concentration
1.0
0
1.0
0
Influent / Threshold Concentration
Succeeding
Contributing
Surpassing
Subpar
Failing
Effluent = Threshold Weight: 3.0
Influent = Threshold Weight: 1.0
Effluent = Influent Weight: 2.0

## Slide 12: 3-2-1 Warning
Contributing = Ambiguous

## Slide 13
Effluent / Threshold Concentration
1.0
0
1.0
0
Influent / Threshold Concentration
Succeeding
Contributing
Surpassing
Subpar
Failing
Effluent = Threshold Weight: 2.0
Influent = Threshold Weight: 0.5
Effluent = Influent Weight: 1.0

## Slide 14: However, Ken’s solution may be better
Subpar = Contributing = 2
Management impact is the same, probably just wait for more data.

## Slide 15: However, Ken’s solution may be better

## Slide 16: EMD based on integer category ranking

## Slide 18
Effluent / Threshold Concentration
1.0
0
1.0
0
Influent / Threshold Concentration
Succeeding
Contributing
Surpassing
Subpar
Failing
EMD Score (3.5 – 0): 3.5
Ken Score (1 – 4): 1.0
Quint Score (1 – 5): 1.0
10
EMD Score (3.5 – 0): 0.0
Ken Score (1 – 4): 4.0
Quint Score (1 – 5): 5.0
10

## Slide 19
Effluent / Threshold Concentration
1.0
0
1.0
0
Influent / Threshold Concentration
Succeeding
Contributing
Surpassing
Subpar
Failing
EMD Score (3.5 – 0): 2.0
Ken Score (1 – 4): 2.0
Quint Score (1 – 5): 3.0
10
EMD Score (3.5 – 0): 1.5
Ken Score (1 – 4): 2.5
Quint Score (1 – 5): 3.0
5
5

## Slide 20
Effluent / Threshold Concentration
1.0
0
1.0
0
Influent / Threshold Concentration
Succeeding
Contributing
Surpassing
Subpar
Failing
EMD Score (3.5 – 0): 1.7
Ken Score (1 – 4): 2.4
Quint Score (1 – 5): 3.0
2
EMD Score (3.5 – 0): 2.25
Ken Score (1 – 4): 2.0
Quint Score (1 – 5): 3.5
5
5
2
2
2
2
EMD Score (3.5 – 0): 1.75
Ken Score (1 – 4): 2.5
Quint Score (1 – 5): 3.0
5
5

## Slide 21
Effluent / Threshold Concentration
1.0
0
1.0
0
Influent / Threshold Concentration
Succeeding
Contributing
Surpassing
Subpar
Failing
EMD Score (3.5 – 0): 0.55
Ken Score (1 – 4): 3.3
Quint Score (1 – 5): 4.2
4
EMD Score (3.5 – 0): 0.55
Ken Score (1 – 4): 2.5
Quint Score (1 – 5): 3.0
1
7
1
5
2
0
0
0
0

## Slide 22
Effluent / Threshold Concentration
1.0
0
1.0
0
Influent / Threshold Concentration
Succeeding
Contributing
Surpassing
Subpar
Failing
EMD Score (3.5 – 0): 1.05
Ken Score (1 – 4): 2.8
Quint Score (1 – 5): 3.6
5
EMD Score (3.5 – 0): 0.95
Ken Score (1 – 4): 3.2
Quint Score (1 – 5): 3.9
1
1
2
6
1
1
3
0
0

## Slide 23
Effluent / Threshold Concentration
1.0
0
1.0
0
Influent / Threshold Concentration
Succeeding
Contributing
Surpassing
Subpar
Failing
EMD Score (3.5 – 0): 1.5
Ken Score (1 – 4): 2.5
Quint Score (1 – 5): 3.1
4
EMD Score (3.5 – 0): 1.5
Ken Score (1 – 4): 2.6
Quint Score (1 – 5): 3.3
3
1
1
3
1
3
2
1
1

## Slide 24
Effluent / Threshold Concentration
1.0
0
1.0
0
Influent / Threshold Concentration
Succeeding
Contributing
Surpassing
Subpar
Failing
EMD Score (3.5 – 0): 2.0
Ken Score (1 – 4): 2.2
Quint Score (1 – 5): 2.6
2
EMD Score (3.5 – 0): 2.0
Ken Score (1 – 4): 2.0
Quint Score (1 – 5): 2.6
2
2
1
0
1
4
0
4
4

## Slide 25
Effluent / Threshold Concentration
1.0
0
1.0
0
Influent / Threshold Concentration
Succeeding
Contributing
Surpassing
Subpar
Failing
EMD Score (3.5 – 0): 2.5
Ken Score (1 – 4): 1.7
Quint Score (1 – 5): 2.1
2
EMD Score (3.5 – 0): 2.5
Ken Score (1 – 4): 1.9
Quint Score (1 – 5): 2.1
1
5
0
1
2
1
5
3
0

## Slide 26
Effluent / Threshold Concentration
1.0
0
1.0
0
Influent / Threshold Concentration
Succeeding
Contributing
Surpassing
Subpar
Failing
EMD Score (3.5 – 0): 3.0
Ken Score (1 – 4): 1.5
Quint Score (1 – 5): 1.5
0
EMD Score (3.5 – 0): 3.0
Ken Score (1 – 4): 1.9
Quint Score (1 – 5): 2.1
1
5
0
1
0
5
0
8
0